## Sheet1
Simple Payback, Net Present Value, Benefit-Cost Ratio and Internal Rate of Return Calculator
Ó2002 Schatz Energy Research Center
This spreadsheet uses simple payback (SPB) and benefit-cost (B/C) ratio functions, as well as Excel's built-in NPV (net present value)
and IRR (internal rate of return) functions to calculate cost-effectiveness of energy projects based on the initial capital cost of the
project and anticipated yearly savings and maintenance costs.
Excel's IRR function considers initial cost a negative value and income as positive. So remember to put a negative (-) sign before your
project's capital cost in cell A20.
To use this spreadsheet, type values into the white cells. All other areas of the spreadsheet are protected and will not accept entries.
Formulas will calculate the values in the yellow cells automatically.
| Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10
Yearly savings
| 2200 | 2200 | 2200 | 2200 | 2200 | 2200 | 2200 | 2200 | 2200 | 2200
Yearly maintenance and other recurring costs
| 150 | 150 | 150 | 150 | 150 | 150 | 2000 | 150 | 150 | 150
Capital cost
(use neg. value!) | Year 1: Net yearly savings (savings minus maintenance and other recurring costs)
-8000 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 200 | 2050 | 2050 | 2050
| Parameter | Value |  | Explanation
| Cum. 10-Yr. Savings | 18650 |  | just adds up total savings
| SPB* | 4.2895 | years | simple payback = capital cost/net yearly savings
| Discount Rate | 5% |  | rate used to calculate time value of money
| NPV | 6204.5678 |  | net present value of all costs and savings
| B/C Ratio | 1.6221 |  | ratio of net present value of all savings to net present value of all costs
| IRR | 20.3% |  | discount rate required for NPV of savings to exactly cancel out cost
| Hurdle | 20% |  | minimum value of IRR deemed cost-effective
| Pass? | yes |  | is IRR greater than or equal to Hurdle value? (if yes, project passes IRR test)
*SPB based on average yearly savings over 10-year period
For complete explanations of simple payback, net present value, benefit-cost ratio, internal rate of return, and other financial analysis tools, see:
Business Analysis for Energy-Efficiency Investments, available online at:
http://yosemite.epa.gov/estar/business.nsf/attachments/business.pdf/$File/business.pdf?OpenElement