## Instructions
This is an analysis tool, not a specific answer. It provides a framework for modeling different business models so that Cisco customers
and partners can better understand the opportunity available with in-building network applications in hotels.
The initial assumptions provided represent a strongly validated starting point. The cost numbers are based on extensive direct experience
as well as workshops and validations by service providers, systems integrators and hotel properties and chains. The revenue numbers
are highly conservative and are based on what we see as a minimal penetration rate for guest room and meeting room Internet access.
To use the model, you'll need to first set the assumptions at the top of the Summary worksheet. Click on the Summary tab below and it will
take you to that worksheet. The items that can be adjusted include:
Number of rooms
Number of meeting rooms (default is 1 meeting room per 25 guest rooms)
Cost of the T1 and average hourly installation labor cost
The type of infrastructure being deployed to the guest rooms - can set to LRE, Ethernet, Cable
Buy vs lease
Property owner vs service provider - A service provider's costs to provide circuits, NOC,a nd end user support will be lower than a property's
Video numbers are included as a placeholder and a starting point. There currently are no known vednors providing commercially supported in-room
video on demand systems. However, Cisco believes that several vendors will enter this market soon, and we think the initial assumptions shown in this

## Summary
Property Assumptions | [5 empty] | Infrastructure / Installation Assumptions
Number of Rooms |  |  | 300 |  |  | LRE, Cable, or Ethernet? |  |  |  | lre | drives guest room equipment and install numbers
Number of Meeting Rooms |  |  | 12 | 4% of guest rooms | [5 empty] | 136942.05 | Guest room equipment cost
Assume entire hotel is installed | [9 empty] | 25603.75 | Meeting room equipment cost
Occupancy rate |  |  | 80% |  |  | Cisco Equipment Discount |  |  |  | 35%
Meeting room occupancy rate |  |  | 50% |  |  | Enter "Lease" or "Buy" - no quotes |  |  |  | lease
Price per night for guestroom Internet access |  |  | 10 |  |  | Who is Providing the Service? |  |  |  | prop | Enter "SP" for Service Provider, "Prop" for Property
Price per day for meeting room Internet access |  |  | 600 | [7 empty] | Drives operating cost assumptions
Revenue Share for guest rooms |  |  | 0% |  |  | Note: Video numbers are representative of future targets and dcan not be validated
Installation Labor Cost per Hour |  |  | 90 |  |  | Include Video? |  |  |  | no
Monthly cost per T1 including ISP |  |  | 650 |  |  |  | Number of owned movies |  |  | 10
[7 empty] | Percent of First run viewing vs owned |  |  | 25%
[7 empty] | Cost per owned movie |  |  | 1000 | range from 300-1800
[7 empty] | Charge per movie |  |  | 8.95
Pro Forma Income Model for Hotels
Annual Revenue |  | Install | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
Guest Room Revenue |  |  | 18144 | 36288 | 54432 | 72576 | 90720
Revenue share |  |  | 0 | 0 | 0 | 0 | 0
Meeting Revenue |  |  | 27216 | 54432 | 81648 | 108864 | 136080
Video Revenue |  |  | 0 | 0 | 0 | 0 | 0
Total Revenue |  |  | 45360 | 90720 | 136080 | 181440 | 226800
Cost | [7 empty] | Lease rates
Guest room hardware |  | 0 | 49299.138 | 49299.138 | 49299.138 | 19719.6552 | 19719.6552 | 3% | Using discounted costs
Meeting room hardware |  | 0 | 9217.35 | 9217.35 | 9217.35 | 3686.94 | 3686.94 | 3% | Using discounted costs
Video equipment costs |  | 0 | 0 | 0 | 0 | 0 | 0 | 3% | Using discounted costs
Installation labor costs |  | 0 | 8278.2 | 8278.2 | 8278.2 |  |  | 3.5% | Assuming trained crews using BBSM processes
Circuit | prop |  | 7800 | 7020 | 6318 | 5686.2 | 5117.58 |  | 10% annual decline, both transport and bandwidth, 50% off if service provider
Help Desk | prop |  | 5400 | 5400 | 5400 | 5400 | 5400 |  | Based on pro-forma quotes, less if a SP
NOC | prop |  | 14400 | 14400 | 14400 | 14400 | 14400 |  | Based on pro-forma quotes
SmartNet - Break Fix |  |  | 8635.664 | 8635.664 | 8635.664 | 8635.664 | 8635.664 |  | based on | 8% | SmartNet fee
SG&A |  |  | 4600 | 3400 | 3060 | 2754 | 2478.6 |  | Buffer number for overhead costs,includes marketing.
Video costs |  |  | 0 | 0 | 0 | 0 | 0
| Total Cost | 0 | 107630.352 | 105650.352 | 104608.352 | 60282.4592 | 59438.4392
Cash Flow |  | 0 | -62270.352 | -14930.352 | 31471.648 | 121157.5408 | 167361.5608
| IRR - 5 years |  | 56.89%
|  |  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
|  | Total cost per day | -0.94512 | -0.92773 | -0.91858 | -0.52935 | -0.52194 |  | Includes all services
|  | Cost per day - net of meeting room revenue | -0.70613 | -0.44976 | -0.20162 | 0.4266 | 0.673 |  | If video offered
|  | Cost per day - net of meeting room and in-room revenue | -0.54681 | -0.13111 | 0.27636 | 1.0639 | 1.4696 |  | Includes all services
The property-owned model includes full, outsourced incremental costs for circuits, support, NOC and maintenance
The service provider model includes much lower operating costs due to existing infrastructure for Circuits, end user support, and NOC
It does not include any incremental value from increased occupancy, rates, or cost savings.
It also does not include the value of future services that are fully enabled by this platform, including voice, games, climate control, energy management, etc…

## Revenue
|  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
Jacks Installed |  | 300 | 300 | 300 | 300 | 300
Meeting Rooms Installed |  | 12 | 12 | 12 | 12 | 12
Usage Forecast
# of available business nights/year |  | 60480 | 60480 | 60480 | 60480 | 60480 | Using assumed occupancy and 21 business nights/month
Guest Room Take Rate |  | 3% | 6% | 9% | 12% | 15% | Driven by awareness and VPN penetration
BBSM Uses/Year |  | 1814.4 | 3628.8 | 5443.2 | 7257.6 | 9072
# of available meetings/year |  | 1512 | 1512 | 1512 | 1512 | 1512 | Using assumed occupancy and 21 business days/month
Meeting Room Take Rate |  | 3% | 6% | 9% | 12% | 15%
M.R. Rentals/Year |  | 45.36 | 90.72 | 136.08 | 181.44 | 226.8
Price
BBSM Rental |  | 10 | 10 | 10 | 10 | 10 | From assumption on Summary page
Meeting Room |  | 600 | 600 | 600 | 600 | 600 | From assumption on Summary page
Annual Revenue
Guest Room Revenue |  | 18144 | 36288 | 54432 | 72576 | 90720
Revenue share |  | 0 | 0 | 0 | 0 | 0 | From assumption on Summary page
Meeting Revenue |  | 27216 | 54432 | 81648 | 108864 | 136080
Total Access Revenue |  | 45360 | 90720 | 136080 | 181440 | 226800
Video Revenue
Penetration |  | 12% | 12% | 12% | 12% | 12% | Based on OnCommand and lodgeNet results
% First Run |  | 25% | 25% | 25% | 25% | 25% | From assumption on Summary page
First run viewers/year |  | 1814.4 | 1814.4 | 1814.4 | 1814.4 | 1814.4 | calculated
Owned movie viewers per year |  | 5443.2 | 5443.2 | 5443.2 | 5443.2 | 5443.2 | calculated
Total Video Users |  | 7257.6 | 7257.6 | 7257.6 | 7257.6 | 7257.6
Revenue per use |  | 8.95 | 8.95 | 8.95 | 8.95 | 8.95
Total Video Revenue |  | 64955.52 | 64955.52 | 64955.52 | 64955.52 | 64955.52
Data points for guest room usage
current averages are 3-4% usage for properties installed over 6 months, trending upwards as more travellers expect hi speed access
- Increased penetration of VPNs for Enterprise networks will greatly increase usage
- On average, it costs a company $13 for an employee to dial-in from a hotel for email, including 800 line, modem banks, and hotel charges
- In room broadband access costs only $10
60% of business travellers check their email/access the Internet on the road
Meeting room usage is still unpredictable, but is viewed as the most profitable part of the hotel network
** By far the most important criteria is deploying into an "A" or "B" property that attracts business travellers
Data points for meeting room access
Primarily applies to large, business oriented hotels, especially in tech centers
Can achieve more than $20,000 in revenue over a single multi-day event
Can charge from $100 - 200/per person for a connection. More if connecting a booth/exhibit
Data points for Video
Both OnCommand and LodgeNet average 12-13% penetration. A new VoD service would be superior to these, but face similar usage
Pricing has been consistent for a long time at 8.95. There is some additional revenue from 'all day viewing' but that has been omitted
The primary usage has been on adult content (owned) films that require no royalties
Typical hotel has 12 adult movies, 12 first run, and 20 long term run

## Ethernet
Guestroom and Core Hardware Components | Qty. | Unit Price | Ext. Price | Discount | Total
Catalyst 2924 Distribution Switches | 13 | 1995 | 25935 | 35% | 16857.75 | 24 port switches
In-Room Ethernet Cables | 300 | 1.5 | 450 | 0% | 450
RJ-21 Cross Connect Cables | 26 | 50 | 1300 | 0% | 1300
Block, 66 TELCO(w/Amphenol Connector) | 26 | 33 | 858 | 0% | 858
Ethernet Patch Cables | 17 | 3.15 | 53.55 | 0% | 53.55
Catalyst 2924 Base Switches | 1 | 1995 | 1995 | 35% | 1296.75
15" Monitor | 1 | 157 | 157 | 0% | 157
Rack, Component 7' x 19" | 1 | 120 | 120 | 0% | 120
Cisco Building Broadband Service Manager | 1 | 11500 | 11500 | 35% | 7475
Incremental port licenses | 10 | 600 | 6000 | 35% | 3900
APC UPS for BBSM Server, Router, Base Switch | 1 | 900 | 900 | 0% | 900
PMS Connection Cable | 1 | 120 | 120 | 0% | 120
Cisco 2611 Router | 1 | 5895 | 5895 | 35% | 3831.75 | Includes firewall feature set
Cisco CE 507 Content Engine, AC Power, Cache SW | 1 | 5500 | 5500 | 35% | 3575 | Only in hotels with over 150 rooms
Total Guestroom and Core Hardware Costs |  |  | 55283.55 |  | 37319.8
Hardware Cost per Room |  |  | 184.2785 |  | 124.3993
Meeting Room Solution (Use Aironet Wireless) | Qty. | Unit Price | Ext. Price | Discount | Total | * Assumes non-fixed deployment of gear
Wireless Access Points | 5 | 1499 | 7495 | 35% | 4871.75 | Includes 75' cables and best antenna
Wireless Bridges | 10 | 1499 | 14990 | 35% | 9743.5
Hubs for Meeting Room Use | 10 | 495 | 4950 | 0% | 4950
Catalyst 2924 Distribution Switches | 1 | 1995 | 1995 | 35% | 1296.75 | Optionally the 3500XL PWR for $3,995
Total Meeting Room Hardware Costs |  |  | 29430 |  | 20862
Estimated Total Project Equipment Cost |  |  | 84713.55 |  | 58181.8
Video
Video Server | 1 | 12000 | 12000 | 35% | 7800 | Estimate for a server capable of 40 users
Video Management Server | 1 | 5000 | 5000 | 0% | 5000 | Estimate
Set Top Box | 300 | 200 | 60000 | 0% | 60000 | Estimated incremental cost assuming LRE CPE is rotated to another site
Total Video Hardware Costs |  |  | 77000 |  | 72800 |  | hope to achieve sub-200 in volume

## Equipment - LRE
Guestroom and Core Hardware Components | Qty. | Unit Price | Ext. Price | Discount | Total
Catalyst 2924 LRE Switches | 13 | 6495 | 84435 | 35% | 54882.75 | 24 port switches
POTs Splitters | 7 | 1395 | 9765 | 35% | 6347.25 | 48 port POTS splitters
Catalyst 575 LRE CPE Modems | 300 | 280 | 84000 | 35% | 54600
In-Room Ethernet Cables | 300 | 1.5 | 450 | 0% | 450
RJ-21 Cables LRE Switch to POTs Splitters | 13 | 50 | 650 | 0% | 650
RJ-21 Cross Connect Cables | 26 | 50 | 1300 | 0% | 1300
Block, 66 TELCO(w/Amphenol Connector) | 26 | 33 | 858 | 0% | 858
Ethernet Patch Cables | 17 | 3.15 | 53.55 | 0% | 53.55
Catalyst 2924 Base Switches | 1 | 1995 | 1995 | 35% | 1296.75
15" Monitor | 1 | 157 | 157 | 0% | 157
Rack, Component 7' x 19" | 1 | 120 | 120 | 0% | 120
Cisco Building Broadband Service Manager | 1 | 11500 | 11500 | 35% | 7475
Incremental port licenses | 10 | 600 | 6000 | 35% | 3900
APC UPS for BBSM Server, Router, Base Switch | 1 | 900 | 900 | 0% | 900
PMS Connection Cable | 1 | 120 | 120 | 0% | 120
Cisco 2611 Router | 1 | 5895 | 5895 | 35% | 3831.75 | Includes firewall feature set
Total Guestroom and Core Hardware Costs |  |  | 208198.55 |  | 136942.05
Hardware Cost per Room |  |  | 693.9952 |  | 456.4735
Meeting Room Solution (Use Aironet Wireless) | Qty. | Unit Price | Ext. Price | Discount | Total | * Assumes non-fixed deployment of gear
Wireless Access Points | 5 | 1499 | 7495 | 35% | 4871.75 | Includes 75' cables and best antenna
Wireless Bridges | 10 | 1499 | 14990 | 35% | 9743.5
Hubs for Meeting Room Use | 10 | 495 | 4950 | 0% | 4950
Catalyst 2924 LRE Switches | 1 | 6495 | 6495 | 35% | 4221.75 | Optionally the 3500XL PWR for $3,995
POTs Splitters | 1 | 1395 | 1395 | 35% | 906.75 | enough to cover meeting rooms
LRE Modem for Connection to MDF | 5 | 280 | 1400 | 35% | 910
Total Meeting Room Hardware Costs |  |  | 36725 |  | 25603.75
Estimated Total Project Equipment Cost |  |  | 244923.55 |  | 162545.8
Video
Video Server | 1 | 12000 | 12000 | 35% | 7800 | Estimate for a server capable of 40 users
Video Management Server | 1 | 5000 | 5000 | 0% | 5000 | Estimate
Set Top Box | 300 | 200 | 60000 | 0% | 60000 | Estimated incremental cost assuming LRE CPE is rotated to another site
Total Video Hardware Costs |  |  | 77000 |  | 72800 |  | hope to achieve sub-200 in volume

## Equipment - Cable
Data service only
Guestroom and Core Hardware Components | Qty. | Unit Price | Ext. Price | Discount | Total
Cable router uBR7114 | 1 | 25000 | 25000 | 35% | 16250
DOCSIS Modems (data only, non Cisco) | 300 | 150 | 45000 | 35% | 29250
In-Room Ethernet Cables | 300 | 2 | 600 | 0% | 600
15" Monitor | 1 | 157 | 157 | 0% | 157
Rack, Component 7' x 19" | 1 | 120 | 120 | 0% | 120
Cisco Building Broadband Service Manager | 1 | 11500 | 11500 | 35% | 7475
Incremental port licenses | 10 | 600 | 6000 | 35% | 3900
APC UPS for BBSM Server, Router, Base Switch | 1 | 900 | 900 | 0% | 900
PMS Connection Cable | 1 | 120 | 120 | 0% | 120
Total Guestroom and Core Hardware Costs |  |  | 89397 |  | 58772
Hardware Cost per Room |  |  | 297.99 |  | 195.9067
Meeting Room Solution (Use Aironet Wireless) | Qty. | Unit Price | Ext. Price | Discount | Total | * Assumes non-fixed deployment of gear
Wireless Access Points | 5 | 1877 | 9385 | 35% | 6100.25 | Includes 75' cables and best antenna
Wireless Bridges | 10 | 1695 | 16950 | 35% | 11017.5
Hubs for Meeting Room Use | 10 | 400 | 4000 | 0% | 4000
Cable Router for connection to coax uplink | 5 | 900 | 4500 | 35% | 2925
Total Meeting Room Hardware Costs |  |  | 34835 |  | 24042.75
Estimated Total Data Equipment Cost |  |  | 124232 |  | 82814.75
Video
Video Server | 1 | 12000 | 12000 | 0% | 12000 | Estimate for a server capable of 40 users
Video Management Server | 1 | 5000 | 5000 | 0% | 5000 | Estimate
Set Top Box | 300 | 0 | 0 | 0% | 0 | Assumes no incremental cost for set top box on cable infrastructure
Total Video Hardware Costs |  |  | 17000 |  | 17000

## Install Labor Costs
|  | Resp | TIP Program Standards (LRE / Wireless) | COAX cable and Cat 5 Ethernet installations
Pre-Installation |  |  | Hours | Hours
| Site Survey |  | 8 | 5
| Site Preparations | Property
| Network Design |  | 1 | 1
| TCP/IP Schemateic |  | 1 | 1
| Create Bill of Materials |  | 1 | 1
| Allocate/Pick Eqiupment |  | 1 | 1
| Configure Equipment |  | 4 | 2
| Ship to Site |  | 1 | 1
| Receive and store equipment on site | Property
Installation
| Site Meeting/Equipment Inventory/Shortages |  | 4 | 4
| Test Local Access Circuit |  | 2 | 2
| Install MDF - Cross Connects |  | 30 | 0
| Install MDF - Hardware Installation |  | 12.5 | 2
| Install Guest Rooms - Jack on Desk |  | 60 | 30
| Install meeting rooms - Create IDF |  | 18 | 18
| Install meeting rooms - Hardware and testing |  | 27 | 27
| PMS Integration | Varies
| Acceptance Test and Certification |  | 4 | 4
| On-site training and collateral |  | 8 | 8
| Total direct install |  | 182.5 | 107
| Project management | 20% | 36.5 | 21.4
| Total Install Hours |  | 219 | 128.4
| Labor cost / hour |  | 90 | 90
| Total Install Labor Cost |  | 19710 | 11556
| Cost per room |  | 65.7 | 38.52

## SG&A and Service & Support
Annual Cost Estimates
Corporate Relationship Development
| Proposal |  | All these vary significantly based on strategy, exisitng businesses, etc…
| Create Master Agreement Package |  | The model just applies a % of revenue that drops over time as the business matures
New Contract Launch
Master Plan: 0 to 120+ days
Master Schedule
MRP
Procurement
Asset management
Marketing collateral and program development
|  | Number of Circuits | Annual Cost
Circuit |  | 1 | 7800
Service and Support
Ongoing Support - central
| End User help Desk |  | 5400
| NOC - Level 3 |  | 14400
Ongoing Support - onsite
| Field technical support |  | 8635.664 | 8%
SG&A |  |  | Year 1 | Years 2+
| Recurring training / events |  | 3600 | 2400 | $12 and $8 per room
| Portal/Connect screen maint |  | 1000 | 1000 | varies based on size of hotel
| Total SG&A |  | 4600 | 3400
| Total Annual Service & Support |  | 28435.664
Ongoing Support - Video
| Refresh content |  | 3600 | $300/month for either extra bandwidth or fedexing videos
| Owned content |  | 20000 | From variables on page 1, times 2 since refreshed 2 times/year
| First run content | 50% | 8119.44 | Percent of revenue goes to studio
| Video Operating Costs |  | 31719.44
Video Assumptions
First run movies as % of total is a variable
Owned movies can be purchased for a 1 time cost and can be shown for 6 months
Number of First run and owned videos is a variable