## Occupancy
This worksheet presents a series of schedules for modeling the sensible and latent heat gain from occupants.
Each of the sets of schedules leads to equivalent annual heat gain, but contain varying levels of detail.
All of the schedules are built up from the most detailed level, found on tab "Occ L3-WD-DU-LR".
Schedule assumptions:
| Living Area Sensible Gain: |  | 230 | BTU/person/hr
| Bedroom Area Sensible Gain: |  | 210 | BTU/person/hr
| Living Area Latent Gain: |  | 190 | BTU/person/hr
| Bedroom Area Latent Gain: |  | 140 | BTU/person/hr
| For a simulation year of 2000: |  | days | fraction
Annual:
|  | no. of weekday - day use: | 125 | 0.34247
|  | no. of weekend - day use: | 57 | 0.15616
|  | no. of weekday - no day use: | 126 | 0.34521
|  | no. of weekend - no day use: | 57 | 0.15616
| Fraction of Weekend/Holidays: |  | 0.31233
| Fraction of Weekdays: |  | 0.68767
| Fraction DayUse: |  | 0.49863
| Fraction NoDayUse: |  | 0.50137
| Sum of Living Area Occ Sch: |  | 7.9845
| Sum of Bedroom Occ Sch: |  | 8.5393

## Occ L0
Schedule Type: |  | Occupancy | Notes: | This is the simplest occupancy schedule, and is appropriate to single-zone models.
Detail Level: |  | 0
Occupancy Schedule, where number of people = number of bedrooms
| Sensible load per person = |  | 219.6643 | BTU/hr/person | (these values weighted by sum of Living area schedule and Bedroom area schedule)
| Latent load per person = |  | 166.1364 | BTU/hr/person
Occ
1 | 1
2 | 1
3 | 1
4 | 1
5 | 1
6 | 1
7 | 1
8 | 0.8831
9 | 0.40861
10 | 0.24189
11 | 0.24189
12 | 0.24189
13 | 0.24189
14 | 0.24189
15 | 0.24189
16 | 0.24189
17 | 0.29498
18 | 0.5531
19 | 0.89693
20 | 0.89693
21 | 0.89693
22 | 1
23 | 1
24 | 1
Total hours/person | 16.5238
DOE2.2 Schedule Format:
$ Occupancy Schedule, average for all days of the year, all spaces
Occ-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,0.8831,
0.4086,0.2419,0.2419,0.2419,0.2419,0.2419,0.2419,0.2419,
0.2950,0.5531,0.8969,0.8969,0.8969,1.0000,1.0000,1.0000) ..
Occupancy-SCH =SCHEDULE TYPE = FRACTION
THRU DEC 31 (ALL) Occ-DS ..

## Occ L1-WD
Schedule Type: |  | Occupancy | Notes: | This schedule distinguishes between weedays and weekends, and is appropriate to single-zone models.
Detail Level: |  | 1
1: | Weekday | Weekend
Occupancy Schedule, where number of people = number of bedrooms
| Sensible load per person = |  | 219.6643 | BTU/hr/person | (these values weighted by sum of Living area schedule and Bedroom area schedule)
| Latent load per person = |  | 166.1364 | BTU/hr/person
| Weekday | Weekend
hour | Occ-WD | Occ-WE
1 | 1 | 1
2 | 1 | 1
3 | 1 | 1
4 | 1 | 1
5 | 1 | 1
6 | 1 | 1
7 | 1 | 1
8 | 0.83 | 1
9 | 0.28989 | 0.67
10 | 0.12466 | 0.5
11 | 0.12466 | 0.5
12 | 0.12466 | 0.5
13 | 0.12466 | 0.5
14 | 0.12466 | 0.5
15 | 0.12466 | 0.5
16 | 0.12466 | 0.5
17 | 0.12466 | 0.67
18 | 0.5 | 0.67
19 | 1 | 0.67
20 | 1 | 0.67
21 | 1 | 0.67
22 | 1 | 1
23 | 1 | 1
24 | 1 | 1
DOE2.2 Schedule Format:
$ Occupancy Schedule, average for all WEEKDAYS of the year, all spaces
Occ-WD-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,0.8300,
0.2899,0.1247,0.1247,0.1247,0.1247,0.1247,0.1247,0.1247,
0.1247,0.5000,1.0000,1.0000,1.0000,1.0000,1.0000,1.0000) ..
$ Occupancy Schedule, average for all WEEKENDS and HOLIDAYS of the year, all spaces
Occ-WE-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,
0.6700,0.5000,0.5000,0.5000,0.5000,0.5000,0.5000,0.5000,
0.6700,0.6700,0.6700,0.6700,0.6700,1.0000,1.0000,1.0000) ..
Occupancy-SCH =SCHEDULE TYPE = FRACTION
THRU DEC 31 (WD) Occ-WD-DS
(WEH) Occ-WE-DS ..

## Occ L1-DU
Schedule Type: |  | Occupancy | Notes: | This schedule distinguishes between Day-Use and Non-Day-Use family types, but does not differentiate weekdays
Detail Level: |  | 1 |  | from weekends. Limited applicability.
1: | Day Use | NonDayUse
Occupancy Schedule, where number of people = number of bedrooms
| Sensible load per person = |  | 219.6643 | BTU/hr/person | (these values weighted by sum of Living area schedule and Bedroom area schedule)
| Latent load per person = |  | 166.1364 | BTU/hr/person
| Day Use | NonDayUse
hour | Occ-DU | Occ-ND
1 | 1 | 1
2 | 1 | 1
3 | 1 | 1
4 | 1 | 1
5 | 1 | 1
6 | 1 | 1
7 | 1 | 1
8 | 0.8831 | 0.8831
9 | 0.43619 | 0.38118
10 | 0.32808 | 0.15616
11 | 0.32808 | 0.15616
12 | 0.32808 | 0.15616
13 | 0.32808 | 0.15616
14 | 0.32808 | 0.15616
15 | 0.32808 | 0.15616
16 | 0.32808 | 0.15616
17 | 0.38118 | 0.20926
18 | 0.5531 | 0.5531
19 | 0.89693 | 0.89693
20 | 0.89693 | 0.89693
21 | 0.89693 | 0.89693
22 | 1 | 1
23 | 1 | 1
24 | 1 | 1
DOE2.2 Schedule Format:
$ Occupancy Schedule, average for all DAYUSE days of the year, all spaces
Occ-DU-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,0.8831,
0.4362,0.3281,0.3281,0.3281,0.3281,0.3281,0.3281,0.3281,
0.3812,0.5531,0.8969,0.8969,0.8969,1.0000,1.0000,1.0000) ..
$ Occupancy Schedule, average for all NON-DAYUSE days of the year, all spaces
Occ-ND-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,0.8831,
0.3812,0.1562,0.1562,0.1562,0.1562,0.1562,0.1562,0.1562,
0.2093,0.5531,0.8969,0.8969,0.8969,1.0000,1.0000,1.0000) ..
OCC-DU-WS = WEEK-SCHEDULE TYPE = FRACTION
DAYS (ALL) DAY-SCHEDULE = Occ-DU-DS ..
OCC-ND-WS = WEEK-SCHEDULE TYPE = FRACTION
DAYS (ALL) DAY-SCHEDULE = Occ-ND-DS ..
$ for Yr2000, Jan 1 is a Saturday
$ week schedules alternate Day-Use and Non-Day-Use Schedules
Occupancy-SCH = SCHEDULE TYPE = FRACTION
THRU JAN 7 WEEK-SCHEDULE = OCC-DU-WS
THRU JAN 14 WEEK-SCHEDULE = OCC-ND-WS
THRU JAN 21 WEEK-SCHEDULE = OCC-DU-WS
THRU JAN 28 WEEK-SCHEDULE = OCC-ND-WS
THRU FEB 4 WEEK-SCHEDULE = OCC-DU-WS
THRU FEB 11 WEEK-SCHEDULE = OCC-ND-WS
THRU FEB 18 WEEK-SCHEDULE = OCC-DU-WS
THRU FEB 25 WEEK-SCHEDULE = OCC-ND-WS
THRU MAR 3 WEEK-SCHEDULE = OCC-DU-WS
THRU MAR 10 WEEK-SCHEDULE = OCC-ND-WS
THRU MAR 17 WEEK-SCHEDULE = OCC-DU-WS
THRU MAR 24 WEEK-SCHEDULE = OCC-ND-WS
THRU MAR 31 WEEK-SCHEDULE = OCC-DU-WS
THRU APR 7 WEEK-SCHEDULE = OCC-ND-WS
THRU APR 14 WEEK-SCHEDULE = OCC-DU-WS
THRU APR 21 WEEK-SCHEDULE = OCC-ND-WS
THRU APR 28 WEEK-SCHEDULE = OCC-DU-WS
THRU MAY 5 WEEK-SCHEDULE = OCC-ND-WS
THRU MAY 12 WEEK-SCHEDULE = OCC-DU-WS
THRU MAY 19 WEEK-SCHEDULE = OCC-ND-WS
THRU MAY 26 WEEK-SCHEDULE = OCC-DU-WS
THRU JUN 2 WEEK-SCHEDULE = OCC-ND-WS
THRU JUN 9 WEEK-SCHEDULE = OCC-DU-WS
THRU JUN 16 WEEK-SCHEDULE = OCC-ND-WS
THRU JUN 23 WEEK-SCHEDULE = OCC-DU-WS
THRU JUN 30 WEEK-SCHEDULE = OCC-ND-WS
THRU JUL 7 WEEK-SCHEDULE = OCC-DU-WS
THRU JUL 14 WEEK-SCHEDULE = OCC-ND-WS
THRU JUL 21 WEEK-SCHEDULE = OCC-DU-WS
THRU JUL 28 WEEK-SCHEDULE = OCC-ND-WS
THRU AUG 4 WEEK-SCHEDULE = OCC-DU-WS
THRU AUG 11 WEEK-SCHEDULE = OCC-ND-WS
THRU AUG 18 WEEK-SCHEDULE = OCC-DU-WS
THRU AUG 25 WEEK-SCHEDULE = OCC-ND-WS
THRU SEP 1 WEEK-SCHEDULE = OCC-DU-WS
THRU SEP 8 WEEK-SCHEDULE = OCC-ND-WS
THRU SEP 15 WEEK-SCHEDULE = OCC-DU-WS
THRU SEP 22 WEEK-SCHEDULE = OCC-ND-WS
THRU SEP 29 WEEK-SCHEDULE = OCC-DU-WS
THRU OCT 6 WEEK-SCHEDULE = OCC-ND-WS
THRU OCT 13 WEEK-SCHEDULE = OCC-DU-WS
THRU OCT 20 WEEK-SCHEDULE = OCC-ND-WS
THRU OCT 27 WEEK-SCHEDULE = OCC-DU-WS
THRU NOV 3 WEEK-SCHEDULE = OCC-ND-WS
THRU NOV 10 WEEK-SCHEDULE = OCC-DU-WS
THRU NOV 17 WEEK-SCHEDULE = OCC-ND-WS
THRU NOV 24 WEEK-SCHEDULE = OCC-DU-WS
THRU DEC 1 WEEK-SCHEDULE = OCC-ND-WS
THRU DEC 8 WEEK-SCHEDULE = OCC-DU-WS
THRU DEC 15 WEEK-SCHEDULE = OCC-ND-WS
THRU DEC 22 WEEK-SCHEDULE = OCC-DU-WS
THRU DEC 31 WEEK-SCHEDULE = OCC-ND-WS ..

## Occ L1-LR
Schedule Type: |  | Occupancy | Notes: | This is the simplest schedule approriate for multi-zone house models.
Detail Level: |  | 1
1: | Living Area | Bedrooms
Occupancy Schedule, where number of people = number of bedrooms
Sensible load per person = 230 BTU/hr in the Living Areas, = 210 BTU/hr in the Bedrooms
Latent load per person = 190 BTY/hr in the Living Areas, = 140 in the Bedrooms
| Living Area | Bedrooms
hour | Occ-LR | Occ-BR
1 | 0 | 1
2 | 0 | 1
3 | 0 | 1
4 | 0 | 1
5 | 0 | 1
6 | 0 | 1
7 | 0.34384 | 0.65616
8 | 0.5 | 0.3831
9 | 0.40861 | 0
10 | 0.24189 | 0
11 | 0.24189 | 0
12 | 0.24189 | 0
13 | 0.24189 | 0
14 | 0.24189 | 0
15 | 0.24189 | 0
16 | 0.24189 | 0
17 | 0.29498 | 0
18 | 0.5531 | 0
19 | 0.89693 | 0
20 | 0.89693 | 0
21 | 0.89693 | 0
22 | 1 | 0
23 | 0.5 | 0.5
24 | 0 | 1
DOE2.2 Schedule Format:
$ Occupancy Schedule, average for all days of the year, LIVING SPACES ONLY
Occ-LR-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.3438,0.5000,
0.4086,0.2419,0.2419,0.2419,0.2419,0.2419,0.2419,0.2419,
0.2950,0.5531,0.8969,0.8969,0.8969,1.0000,0.5000,0.0000) ..
Occ-LR-SCH =SCHEDULE TYPE = FRACTION
THRU DEC 31 (ALL) Occ-LR-DS ..
$ Occupancy Schedule, average for all days of the year, BEDROOM SPACES ONLY
Occ-BR-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,0.6562,0.3831,
0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,
0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.5000,1.0000) ..
Occ-BR-SCH =SCHEDULE TYPE = FRACTION
THRU DEC 31 (ALL) Occ-BR-DS ..

## OccL2-WD-DU
Schedule Type: |  | Occupancy |  | Notes: | This is the most detailed schedule appropriate for single-zone models.
Detail Level: |  | 2
1: | Day Use | NonDayUse
2: | Weekday | Weekend
(Living area and bedroom areas are combined)
Occupancy Schedule, where number of people = number of bedrooms
| Sensible load per person = |  |  | 219.6643 | BTU/hr/person | (these values weighted by sum of Living area schedule and Bedroom area schedule)
| Latent load per person = |  |  | 166.1364 | BTU/hr/person
| Day-Use |  | No Day-Use
| Weekday | Weekend | Weekday | Weekend
hour | Occ-DU-WD | Occ-DU-WE | Occ-ND-WD | Occ-ND-WE
1 | 1 | 1 | 1 | 1
2 | 1 | 1 | 1 | 1
3 | 1 | 1 | 1 | 1
4 | 1 | 1 | 1 | 1
5 | 1 | 1 | 1 | 1
6 | 1 | 1 | 1 | 1
7 | 1 | 1 | 1 | 1
8 | 0.83 | 1 | 0.83 | 1
9 | 0.33 | 0.67 | 0.25 | 0.67
10 | 0.25 | 0.5 | 0 | 0.5
11 | 0.25 | 0.5 | 0 | 0.5
12 | 0.25 | 0.5 | 0 | 0.5
13 | 0.25 | 0.5 | 0 | 0.5
14 | 0.25 | 0.5 | 0 | 0.5
15 | 0.25 | 0.5 | 0 | 0.5
16 | 0.25 | 0.5 | 0 | 0.5
17 | 0.25 | 0.67 | 0 | 0.67
18 | 0.5 | 0.67 | 0.5 | 0.67
19 | 1 | 0.67 | 1 | 0.67
20 | 1 | 0.67 | 1 | 0.67
21 | 1 | 0.67 | 1 | 0.67
22 | 1 | 1 | 1 | 1
23 | 1 | 1 | 1 | 1
24 | 1 | 1 | 1 | 1
DOE2.2 Schedule Format:
$ Occupancy Schedule, average for all WEEKDAYS of the year, DAYUSE Only
Occ-DU-WD-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,0.8300,
0.3300,0.2500,0.2500,0.2500,0.2500,0.2500,0.2500,0.2500,
0.2500,0.5000,1.0000,1.0000,1.0000,1.0000,1.0000,1.0000) ..
$ Occupancy Schedule, average for all WEEKEND days of the year, DAYUSE Only
Occ-DU-WE-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,
0.6700,0.5000,0.5000,0.5000,0.5000,0.5000,0.5000,0.5000,
0.6700,0.6700,0.6700,0.6700,0.6700,1.0000,1.0000,1.0000) ..
$ Occupancy Schedule, average for all WEEKDAYS of the year, NON-DAYUSE Only
Occ-ND-WD-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,0.8300,
0.2500,0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,
0.0000,0.5000,1.0000,1.0000,1.0000,1.0000,1.0000,1.0000) ..
$ Occupancy Schedule, average for all WEEKEND days of the year, NON-DAYUSE Only
Occ-ND-WE-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,
0.6700,0.5000,0.5000,0.5000,0.5000,0.5000,0.5000,0.5000,
0.6700,0.6700,0.6700,0.6700,0.6700,1.0000,1.0000,1.0000) ..
OCC-DU-WS = WEEK-SCHEDULE TYPE = FRACTION
DAYS (WD ) DAY-SCHEDULE = Occ-DU-WD-DS
DAYS (WEH) DAY-SCHEDULE = Occ-DU-WE-DS ..
OCC-ND-WS = WEEK-SCHEDULE TYPE = FRACTION
DAYS (WD ) DAY-SCHEDULE = Occ-ND-WD-DS
DAYS (WEH) DAY-SCHEDULE = Occ-ND-WE-DS ..
$ for Yr2000, Jan 1 is a Saturday
$ week schedules alternate Day-Use and Non-Day-Use Schedules
Occupancy-SCH = SCHEDULE TYPE = FRACTION
THRU JAN 7 WEEK-SCHEDULE = OCC-DU-WS
THRU JAN 14 WEEK-SCHEDULE = OCC-ND-WS
THRU JAN 21 WEEK-SCHEDULE = OCC-DU-WS
THRU JAN 28 WEEK-SCHEDULE = OCC-ND-WS
THRU FEB 4 WEEK-SCHEDULE = OCC-DU-WS
THRU FEB 11 WEEK-SCHEDULE = OCC-ND-WS
THRU FEB 18 WEEK-SCHEDULE = OCC-DU-WS
THRU FEB 25 WEEK-SCHEDULE = OCC-ND-WS
THRU MAR 3 WEEK-SCHEDULE = OCC-DU-WS
THRU MAR 10 WEEK-SCHEDULE = OCC-ND-WS
THRU MAR 17 WEEK-SCHEDULE = OCC-DU-WS
THRU MAR 24 WEEK-SCHEDULE = OCC-ND-WS
THRU MAR 31 WEEK-SCHEDULE = OCC-DU-WS
THRU APR 7 WEEK-SCHEDULE = OCC-ND-WS
THRU APR 14 WEEK-SCHEDULE = OCC-DU-WS
THRU APR 21 WEEK-SCHEDULE = OCC-ND-WS
THRU APR 28 WEEK-SCHEDULE = OCC-DU-WS
THRU MAY 5 WEEK-SCHEDULE = OCC-ND-WS
THRU MAY 12 WEEK-SCHEDULE = OCC-DU-WS
THRU MAY 19 WEEK-SCHEDULE = OCC-ND-WS
THRU MAY 26 WEEK-SCHEDULE = OCC-DU-WS
THRU JUN 2 WEEK-SCHEDULE = OCC-ND-WS
THRU JUN 9 WEEK-SCHEDULE = OCC-DU-WS
THRU JUN 16 WEEK-SCHEDULE = OCC-ND-WS
THRU JUN 23 WEEK-SCHEDULE = OCC-DU-WS
THRU JUN 30 WEEK-SCHEDULE = OCC-ND-WS
THRU JUL 7 WEEK-SCHEDULE = OCC-DU-WS
THRU JUL 14 WEEK-SCHEDULE = OCC-ND-WS
THRU JUL 21 WEEK-SCHEDULE = OCC-DU-WS
THRU JUL 28 WEEK-SCHEDULE = OCC-ND-WS
THRU AUG 4 WEEK-SCHEDULE = OCC-DU-WS
THRU AUG 11 WEEK-SCHEDULE = OCC-ND-WS
THRU AUG 18 WEEK-SCHEDULE = OCC-DU-WS
THRU AUG 25 WEEK-SCHEDULE = OCC-ND-WS
THRU SEP 1 WEEK-SCHEDULE = OCC-DU-WS
THRU SEP 8 WEEK-SCHEDULE = OCC-ND-WS
THRU SEP 15 WEEK-SCHEDULE = OCC-DU-WS
THRU SEP 22 WEEK-SCHEDULE = OCC-ND-WS
THRU SEP 29 WEEK-SCHEDULE = OCC-DU-WS
THRU OCT 6 WEEK-SCHEDULE = OCC-ND-WS
THRU OCT 13 WEEK-SCHEDULE = OCC-DU-WS
THRU OCT 20 WEEK-SCHEDULE = OCC-ND-WS
THRU OCT 27 WEEK-SCHEDULE = OCC-DU-WS
THRU NOV 3 WEEK-SCHEDULE = OCC-ND-WS
THRU NOV 10 WEEK-SCHEDULE = OCC-DU-WS
THRU NOV 17 WEEK-SCHEDULE = OCC-ND-WS
THRU NOV 24 WEEK-SCHEDULE = OCC-DU-WS
THRU DEC 1 WEEK-SCHEDULE = OCC-ND-WS
THRU DEC 8 WEEK-SCHEDULE = OCC-DU-WS
THRU DEC 15 WEEK-SCHEDULE = OCC-ND-WS
THRU DEC 22 WEEK-SCHEDULE = OCC-DU-WS
THRU DEC 31 WEEK-SCHEDULE = OCC-ND-WS ..

## Occ L2-WD-LR
Schedule Type: |  | Occupancy |  | Notes: | Use only with multi-zone house models.
Detail Level: |  | 2
1: | Living Area | Bedrooms
2: | Weekday | Weekend
(Day use and non-Day use are combined)
Occupancy Schedule, where number of people = number of bedrooms
Sensible load per person = 230 BTU/hr in the Living Areas, = 210 BTU/hr in the Bedrooms
Latent load per person = 190 BTY/hr in the Living Areas, = 140 in the Bedrooms
| Weekday |  | Weekend
| Living Area | Bedrooms | Living Area | Bedrooms
| Occ-LR-WD | Occ-BR-WD | Occ-LR-WE | Occ-BR-WE
1 | 0 | 1 | 0 | 1
2 | 0 | 1 | 0 | 1
3 | 0 | 1 | 0 | 1
4 | 0 | 1 | 0 | 1
5 | 0 | 1 | 0 | 1
6 | 0 | 1 | 0 | 1
7 | 0.5 | 0.5 | 0 | 1
8 | 0.5 | 0.33 | 0.5 | 0.5
9 | 0.28989 | 0 | 0.67 | 0
10 | 0.12466 | 0 | 0.5 | 0
11 | 0.12466 | 0 | 0.5 | 0
12 | 0.12466 | 0 | 0.5 | 0
13 | 0.12466 | 0 | 0.5 | 0
14 | 0.12466 | 0 | 0.5 | 0
15 | 0.12466 | 0 | 0.5 | 0
16 | 0.12466 | 0 | 0.5 | 0
17 | 0.12466 | 0 | 0.67 | 0
18 | 0.5 | 0 | 0.67 | 0
19 | 1 | 0 | 0.67 | 0
20 | 1 | 0 | 0.67 | 0
21 | 1 | 0 | 0.67 | 0
22 | 1 | 0 | 1 | 0
23 | 0.5 | 0.5 | 0.5 | 0.5
24 | 0 | 1 | 0 | 1
DOE2.2 Schedule Format:
$ Occupancy Schedule, average for all WEEKDAYS of the year, DAYUSE Only
Occ-LR-WD-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.5000,0.5000,
0.2899,0.1247,0.1247,0.1247,0.1247,0.1247,0.1247,0.1247,
0.1247,0.5000,1.0000,1.0000,1.0000,1.0000,0.5000,0.0000) ..
$ Occupancy Schedule, average for all WEEKEND days of the year, DAYUSE Only
Occ-BR-WD-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,0.5000,0.3300,
0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,
0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.5000,1.0000) ..
$ Occupancy Schedule, average for all WEEKDAYS of the year, NON-DAYUSE Only
Occ-LR-WE-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.5000,
0.6700,0.5000,0.5000,0.5000,0.5000,0.5000,0.5000,0.5000,
0.6700,0.6700,0.6700,0.6700,0.6700,1.0000,0.5000,0.0000) ..
$ Occupancy Schedule, average for all WEEKEND days of the year, NON-DAYUSE Only
Occ-BR-WE-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,0.5000,
0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,
0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.5000,1.0000) ..
Occ-LR-SCH =SCHEDULE TYPE = FRACTION
THRU DEC 31 (WD) Occ-LR-WD-DS
(WEH) Occ-LR-WE-DS ..
Occ-BR-SCH =SCHEDULE TYPE = FRACTION
THRU DEC 31 (WD) Occ-BR-WD-DS
(WEH) Occ-BR-WE-DS ..

## OccL2-DU-LR
Schedule Type: |  | Occupancy |  | Notes: | Limited applicability (if only 2 day-types are allowed, use weekday vs. weekend)
Detail Level: |  | 2 |  |  | Use only with multi-zone house models.
1: | Living Area | Bedrooms
2: | Day Use | NonDayUse
(weekdays and weekends are combined)
Occupancy Schedule, where number of people = number of bedrooms
Sensible load per person = 230 BTU/hr in the Living Areas, = 210 BTU/hr in the Bedrooms
Latent load per person = 190 BTY/hr in the Living Areas, = 140 in the Bedrooms
| Day-Use |  | No Day-Use
| Living Area | Bedrooms | Living Area | Bedrooms
hour | Occ-DU-LR | Occ-DU-BR | Occ-ND-LR | Occ-ND-BR
1 | 0 | 1 | 0 | 1
2 | 0 | 1 | 0 | 1
3 | 0 | 1 | 0 | 1
4 | 0 | 1 | 0 | 1
5 | 0 | 1 | 0 | 1
6 | 0 | 1 | 0 | 1
7 | 0.34384 | 0.65616 | 0.34384 | 0.65616
8 | 0.5 | 0.3831 | 0.5 | 0.3831
9 | 0.43619 | 0 | 0.38118 | 0
10 | 0.32808 | 0 | 0.15616 | 0
11 | 0.32808 | 0 | 0.15616 | 0
12 | 0.32808 | 0 | 0.15616 | 0
13 | 0.32808 | 0 | 0.15616 | 0
14 | 0.32808 | 0 | 0.15616 | 0
15 | 0.32808 | 0 | 0.15616 | 0
16 | 0.32808 | 0 | 0.15616 | 0
17 | 0.38118 | 0 | 0.20926 | 0
18 | 0.5531 | 0 | 0.5531 | 0
19 | 0.89693 | 0 | 0.89693 | 0
20 | 0.89693 | 0 | 0.89693 | 0
21 | 0.89693 | 0 | 0.89693 | 0
22 | 1 | 0 | 1 | 0
23 | 0.5 | 0.5 | 0.5 | 0.5
24 | 0 | 1 | 0 | 1
DOE2.2 Schedule Format:
$ Occupancy Schedule, average for all WEEKDAYS of the year, DAYUSE Only
Occ-DU-LR-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.3438,0.5000,
0.4362,0.3281,0.3281,0.3281,0.3281,0.3281,0.3281,0.3281,
0.3812,0.5531,0.8969,0.8969,0.8969,1.0000,0.5000,0.0000) ..
$ Occupancy Schedule, average for all WEEKEND days of the year, DAYUSE Only
Occ-DU-BR-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,0.6562,0.3831,
0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,
0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.5000,1.0000) ..
$ Occupancy Schedule, average for all WEEKDAYS of the year, NON-DAYUSE Only
Occ-ND-LR-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.3438,0.5000,
0.3812,0.1562,0.1562,0.1562,0.1562,0.1562,0.1562,0.1562,
0.2093,0.5531,0.8969,0.8969,0.8969,1.0000,0.5000,0.0000) ..
$ Occupancy Schedule, average for all WEEKEND days of the year, NON-DAYUSE Only
Occ-ND-BR-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,0.6562,0.3831,
0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,
0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.5000,1.0000) ..
OCC-LR-DU-WS = WEEK-SCHEDULE TYPE = FRACTION
DAYS (ALL) DAY-SCHEDULE = Occ-DU-LR-DS ..
OCC-LR-ND-WS = WEEK-SCHEDULE TYPE = FRACTION
DAYS (ALL) DAY-SCHEDULE = Occ-ND-LR-DS ..
$ for Yr2000, Jan 1 is a Saturday
$ week schedules alternate Day-Use and Non-Day-Use Schedules
OCC-LR-SCH = SCHEDULE TYPE = FRACTION
THRU JAN 7 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU JAN 14 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU JAN 21 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU JAN 28 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU FEB 4 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU FEB 11 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU FEB 18 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU FEB 25 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU MAR 3 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU MAR 10 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU MAR 17 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU MAR 24 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU MAR 31 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU APR 7 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU APR 14 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU APR 21 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU APR 28 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU MAY 5 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU MAY 12 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU MAY 19 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU MAY 26 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU JUN 2 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU JUN 9 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU JUN 16 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU JUN 23 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU JUN 30 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU JUL 7 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU JUL 14 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU JUL 21 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU JUL 28 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU AUG 4 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU AUG 11 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU AUG 18 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU AUG 25 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU SEP 1 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU SEP 8 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU SEP 15 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU SEP 22 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU SEP 29 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU OCT 6 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU OCT 13 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU OCT 20 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU OCT 27 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU NOV 3 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU NOV 10 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU NOV 17 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU NOV 24 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU DEC 1 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU DEC 8 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU DEC 15 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU DEC 22 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU DEC 31 WEEK-SCHEDULE = OCC-LR-ND-WS ..
OCC-BR-DU-WS = WEEK-SCHEDULE TYPE = FRACTION
DAYS (ALL) DAY-SCHEDULE = Occ-DU-BR-DS ..
OCC-BR-ND-WS = WEEK-SCHEDULE TYPE = FRACTION
DAYS (ALL) DAY-SCHEDULE = Occ-ND-BR-DS ..
$ for Yr2000, Jan 1 is a Saturday
$ week schedules alternate Day-Use and Non-Day-Use Schedules
OCC-BR-SCH = SCHEDULE TYPE = FRACTION
THRU JAN 7 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU JAN 14 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU JAN 21 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU JAN 28 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU FEB 4 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU FEB 11 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU FEB 18 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU FEB 25 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU MAR 3 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU MAR 10 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU MAR 17 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU MAR 24 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU MAR 31 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU APR 7 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU APR 14 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU APR 21 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU APR 28 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU MAY 5 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU MAY 12 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU MAY 19 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU MAY 26 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU JUN 2 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU JUN 9 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU JUN 16 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU JUN 23 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU JUN 30 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU JUL 7 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU JUL 14 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU JUL 21 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU JUL 28 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU AUG 4 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU AUG 11 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU AUG 18 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU AUG 25 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU SEP 1 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU SEP 8 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU SEP 15 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU SEP 22 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU SEP 29 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU OCT 6 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU OCT 13 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU OCT 20 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU OCT 27 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU NOV 3 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU NOV 10 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU NOV 17 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU NOV 24 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU DEC 1 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU DEC 8 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU DEC 15 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU DEC 22 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU DEC 31 WEEK-SCHEDULE = OCC-BR-ND-WS ..

## Occ L3-WD-DU-LR
Schedule Type: |  | Occupancy |  | Notes: | This is the most detailed schedule appropriate to mulit-zone house models.
Detail Level: |  | 3
1: | Living Area | Bedrooms
2: | Day Use | NonDayUse
3: | Weekday | Weekend
Occupancy Schedule, where number of people = number of bedrooms
Sensible load per person = 230 BTU/hr in the Living Areas, = 210 BTU/hr in the Bedrooms
Latent load per person = 190 BTY/hr in the Living Areas, = 140 in the Bedrooms
| Day-Use |  |  |  |  | No Day-Use
| Weekday |  | Weekend |  |  | Weekday |  | Weekend
| LivingArea | Bedrooms | LivingArea | Bedrooms |  | LivingArea | Bedrooms | LivingArea | Bedrooms
| Occ-DU-LR-WD | Occ-DU-BR-WD | Occ-DU-LR-WE | Occ-DU-BR-WE |  | Occ-ND-LR-WD | Occ-ND-BR-WD | Occ-ND-LR-WE | Occ-ND-BR-WE
1 | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1
2 | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1
3 | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1
4 | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1
5 | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1
6 | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1
7 | 0.5 | 0.5 | 0 | 1 |  | 0.5 | 0.5 | 0 | 1
8 | 0.5 | 0.33 | 0.5 | 0.5 |  | 0.5 | 0.33 | 0.5 | 0.5
9 | 0.33 | 0 | 0.67 | 0 |  | 0.25 | 0 | 0.67 | 0
10 | 0.25 | 0 | 0.5 | 0 |  | 0 | 0 | 0.5 | 0
11 | 0.25 | 0 | 0.5 | 0 |  | 0 | 0 | 0.5 | 0
12 | 0.25 | 0 | 0.5 | 0 |  | 0 | 0 | 0.5 | 0
13 | 0.25 | 0 | 0.5 | 0 |  | 0 | 0 | 0.5 | 0
14 | 0.25 | 0 | 0.5 | 0 |  | 0 | 0 | 0.5 | 0
15 | 0.25 | 0 | 0.5 | 0 |  | 0 | 0 | 0.5 | 0
16 | 0.25 | 0 | 0.5 | 0 |  | 0 | 0 | 0.5 | 0
17 | 0.25 | 0 | 0.67 | 0 |  | 0 | 0 | 0.67 | 0
18 | 0.5 | 0 | 0.67 | 0 |  | 0.5 | 0 | 0.67 | 0
19 | 1 | 0 | 0.67 | 0 |  | 1 | 0 | 0.67 | 0
20 | 1 | 0 | 0.67 | 0 |  | 1 | 0 | 0.67 | 0
21 | 1 | 0 | 0.67 | 0 |  | 1 | 0 | 0.67 | 0
22 | 1 | 0 | 1 | 0 |  | 1 | 0 | 1 | 0
23 | 0.5 | 0.5 | 0.5 | 0.5 |  | 0.5 | 0.5 | 0.5 | 0.5
24 | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1
DOE2.2 Schedule Format:
$ Occupancy Schedule, average for all WEEKDAYS of the year, DAYUSE Only, LIVING Areas
Occ-DU-LR-WD-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.5000,0.5000,
0.3300,0.2500,0.2500,0.2500,0.2500,0.2500,0.2500,0.2500,
0.2500,0.5000,1.0000,1.0000,1.0000,1.0000,0.5000,0.0000) ..
$ Occupancy Schedule, average for all WEEKDAYS of the year, DAYUSE Only, BEDROOM Areas
Occ-DU-BR-WD-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,0.5000,0.3300,
0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,
0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.5000,1.0000) ..
$ Occupancy Schedule, average for all WEEKEND days of the year, DAYUSE Only, LIVING Areas
Occ-DU-LR-WE-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.5000,
0.6700,0.5000,0.5000,0.5000,0.5000,0.5000,0.5000,0.5000,
0.6700,0.6700,0.6700,0.6700,0.6700,1.0000,0.5000,0.0000) ..
$ Occupancy Schedule, average for all WEEKEND days of the year, DAYUSE Only, BEDROOM Areas
Occ-DU-BR-WE-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,0.5000,
0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,
0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.5000,1.0000) ..
$ Occupancy Schedule, average for all WEEKDAYS of the year, NON-DAY-USE Only, LIVING Areas
Occ-ND-LR-WD-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.5000,0.5000,
0.2500,0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,
0.0000,0.5000,1.0000,1.0000,1.0000,1.0000,0.5000,0.0000) ..
$ Occupancy Schedule, average for all WEEKDAYS of the year, NON-DAY-USE Only, BEDROOM Areas
Occ-ND-BR-WD-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,0.5000,0.3300,
0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,
0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.5000,1.0000) ..
$ Occupancy Schedule, average for all WEEKEND days of the year, NON-DAY-USE Only, LIVING Areas
Occ-ND-LR-WE-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.5000,
0.6700,0.5000,0.5000,0.5000,0.5000,0.5000,0.5000,0.5000,
0.6700,0.6700,0.6700,0.6700,0.6700,1.0000,0.5000,0.0000) ..
$ Occupancy Schedule, average for all WEEKEND days of the year, NON-DAY-USE Only, BEDROOM Areas
Occ-ND-BR-WE-DS =DAY-SCHEDULE TYPE = FRACTION
(1,24) (1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,1.0000,0.5000,
0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,
0.0000,0.0000,0.0000,0.0000,0.0000,0.0000,0.5000,1.0000) ..
OCC-LR-DU-WS = WEEK-SCHEDULE TYPE = FRACTION
DAYS (WD ) DAY-SCHEDULE = Occ-DU-LR-WD-DS
DAYS (WEH) DAY-SCHEDULE = Occ-DU-LR-WE-DS ..
OCC-LR-ND-WS = WEEK-SCHEDULE TYPE = FRACTION
DAYS (WD ) DAY-SCHEDULE = Occ-ND-LR-WD-DS
DAYS (WEH) DAY-SCHEDULE = Occ-ND-LR-WE-DS ..
$ for Yr2000, Jan 1 is a Saturday
$ week schedules alternate Day-Use and Non-Day-Use Schedules
OCC-LR-SCH = SCHEDULE TYPE = FRACTION
THRU JAN 7 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU JAN 14 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU JAN 21 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU JAN 28 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU FEB 4 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU FEB 11 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU FEB 18 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU FEB 25 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU MAR 3 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU MAR 10 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU MAR 17 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU MAR 24 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU MAR 31 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU APR 7 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU APR 14 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU APR 21 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU APR 28 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU MAY 5 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU MAY 12 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU MAY 19 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU MAY 26 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU JUN 2 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU JUN 9 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU JUN 16 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU JUN 23 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU JUN 30 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU JUL 7 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU JUL 14 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU JUL 21 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU JUL 28 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU AUG 4 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU AUG 11 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU AUG 18 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU AUG 25 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU SEP 1 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU SEP 8 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU SEP 15 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU SEP 22 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU SEP 29 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU OCT 6 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU OCT 13 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU OCT 20 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU OCT 27 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU NOV 3 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU NOV 10 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU NOV 17 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU NOV 24 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU DEC 1 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU DEC 8 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU DEC 15 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU DEC 22 WEEK-SCHEDULE = OCC-LR-DU-WS
THRU DEC 29 WEEK-SCHEDULE = OCC-LR-ND-WS
THRU DEC 31 WEEK-SCHEDULE = OCC-LR-DU-WS ..
OCC-BR-DU-WS = WEEK-SCHEDULE TYPE = FRACTION
DAYS (WD ) DAY-SCHEDULE = Occ-DU-BR-WD-DS
DAYS (WEH) DAY-SCHEDULE = Occ-DU-BR-WE-DS ..
OCC-BR-ND-WS = WEEK-SCHEDULE TYPE = FRACTION
DAYS (WD ) DAY-SCHEDULE = Occ-ND-BR-WD-DS
DAYS (WEH) DAY-SCHEDULE = Occ-ND-BR-WE-DS ..
$ for Yr2000, Jan 1 is a Saturday
$ week schedules alternate Day-Use and Non-Day-Use Schedules
OCC-BR-SCH = SCHEDULE TYPE = FRACTION
THRU JAN 7 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU JAN 14 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU JAN 21 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU JAN 28 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU FEB 4 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU FEB 11 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU FEB 18 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU FEB 25 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU MAR 3 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU MAR 10 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU MAR 17 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU MAR 24 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU MAR 31 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU APR 7 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU APR 14 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU APR 21 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU APR 28 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU MAY 5 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU MAY 12 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU MAY 19 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU MAY 26 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU JUN 2 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU JUN 9 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU JUN 16 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU JUN 23 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU JUN 30 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU JUL 7 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU JUL 14 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU JUL 21 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU JUL 28 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU AUG 4 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU AUG 11 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU AUG 18 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU AUG 25 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU SEP 1 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU SEP 8 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU SEP 15 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU SEP 22 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU SEP 29 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU OCT 6 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU OCT 13 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU OCT 20 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU OCT 27 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU NOV 3 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU NOV 10 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU NOV 17 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU NOV 24 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU DEC 1 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU DEC 8 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU DEC 15 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU DEC 22 WEEK-SCHEDULE = OCC-BR-DU-WS
THRU DEC 29 WEEK-SCHEDULE = OCC-BR-ND-WS
THRU DEC 31 WEEK-SCHEDULE = OCC-BR-DU-WS ..